## Slide 1: Spatiotemporal modelling & automated in-situ sensors to monitor Harmful Algal Blooms(HABs) Case Study-Lake Victoria
Presenter:
Name: OKELLO, JACOB OKOMO
Reg. No: ENC222-0149/2017
Progress Presentation

## Slide 2
HAB is a phenomena which turns water bodies dark blue-green due to eutrophication; potentially harming humans and animals e.g., massive fish deaths, etc. Which has been lately observed in L. Victoria riparian reserves due to eutrophication in the region. (Hecky et al., 2010)
Development, stability, and density of the phenomenon affect some environmental factors Lake Surface Air Temperature (LSAT), Sea Surface Temperature (SST) (Tang et al, 2006)
In spite of being potentially harmful to the locals, the status quo only provides for the higher authority to solely rely on calls/information from the local residents after the condition is a total mess without relying on any near real-time space-based or in-situ monitoring system.
Therefore, there’s need to come up with a quick response methodological approach to use space-based techniques and in-situ sensors to detect and alert the near-real time occurrence of HABs
Coupling wide spread spatiotemporal monitoring, and automated in-situ system will play a big deal in return. This would inform the Govt. and the general public the affected zones, calling for immediate remedy actions.
Introduction

## Slide 3: General and specific objectives
To detect, monitor and report the occurrence of Harmful Algal Blooms(HABs) in Lake Victoria, Kisumu basin.
  To monitor chlorophyl-a(chl-a) concentration from L8 OLI images.
  To monitor Lake Surface Air Temperature(LSAT) from L8 TIRS images as another HAB indicator in L. Victoria.
  To develop automated Internet of Things (IoT) in situ sensors, Applicable in near real-time to monitor and report geo-tagged Water quality data.

## Slide 4: Study Area
NYANZA GULF
Homabay

## Slide 5: Data and Materials
Tool/Material | Role | Availability
Google Earth Engine (GEE) | Geocomputation & Processing | Freely Available
ArcMap, R & Python | Further Analysis & Maps | Free
Microcontroller & Sensors | In-Situ data Monitoring | Local Purchase
Data Type | Source | Role/Use
Landsat 8 OLI (30m, 16 days) | USGS (2015-2021) | Spatiotemporal HAB Monitoring
Landsat 8 TIR (100m, 16 days) | USGS (2015-2021) | Lake Surface Water Temperature Monitoring(LSWT)
Field Data | Kenya Marine & Fisheries Research Institute-KMFRI (2015-2021) | Previous HAB events
In-Situ Data | In-situ Sensors 2021 Onwards | Continued In-Situ Algal Monitoring

## Slide 6
B5 NIR
Lake Surface Emissivity (LSE)ε
At-Sensor Spectral Radiance to Brightness Temp (Tb10)
Estimate Lake Surface Air Temp (LSAT)
Automatic Results Download
Landsat 8 images
B3 GREEN
B2 BLUE
TIRS Data
OLI Data
B4 RED
NDVI
Automatic L8 Acquisition from GEE
TOA DN to At-Sensor Radiance(Lλ)
Validation
Above
Below
Ocean Color Chl-a algorithms
Process validation
Proportional of Vegetation(Pv)
TIRS B10
Threshold
Objective 1
Objective 2
Spatiotemporal Monitoring
Estimate for next available date
Estimate for next available date

## Slide 7: Overall methodology
Start
LSAT
Salinity Status
In-situ data > Temp. threshold
GPS
Ensure a secure connection via SSh
IoT Gateway
No
Upload in-situ data to Processor
Upload in-situ data to reporter
Objective 3

## Slide 8: HAB reported dates, from 2015
Table 3: HABs reported in Lake Victoria, (KMFRI, NASA Earth Data)

## Slide 9: Results: Chl-a concentration maps
12th January 2015 23rd Feb 2016
04th September 2017 27th January 2018

## Slide 10
18th August 2019 29th August 2020
Results: Chl-a concentration maps

## Slide 11: Accuracy Assessment of Chl-a Estimates
R = 0.847751
Year | Correlation Co-efficient
2015 | 0.847751
2016 | 0.883304
2017 | 0.891017
2018 | 0.843381
2019 | 0.899546
2020 | 0.900772

## Slide 12: Results (b): High LSAT recorded during bloom Events
12th January 2015 23rd February 2016
04th September 2017 27th January 2018

## Slide 13: Results (b): High LSAT recorded during bloom Events
18th August 2019 29th August 2020

## Slide 14: Accuracy Assessment of LSAT Estimates
Year | Correl’n Co-efficient
2015 | 0.698326
2016 | 0. 71064
2017 | 0.691017
2018 | 0.713381
2019 | 0. 71546
2020 | 0. 70726
R = 0.698326

## Slide 15: Obtaining GPS Location, Water Temp and Relative Humidity from Sensors.

## Slide 16: Thank you for your attention! Questions?